To Do:

- Introductions + Backgrounds

  - Technical Strengths/Weaknesses

- Compile Team Schedules

  - Set up regular meeting times

- Talk about Project

- Subsystem Brainstorming

Project Overview:

Design and implement an Arbitrary Waveform Generator (AWG) capable of generating two independent analog waveforms, each at different user-defined frequencies, based on pre-stored waveform data. Users will control the AWG through a mobile app (iOS/Android?), which communicates with the hardware system comprising:

- Microcontroller (MCU) for control and interface logic

- FPGA for high-speed waveform generation

- External memory to store arbitrary waveform data

- Digital-to-Analog Converters (DACs) for converting digital waveforms to analog

- Analog output stages with filters to clean the signal

- DC/DC converters for power regulation

Goal:

This system will allow users to choose waveform shapes, frequency, amplitude, and output channels via the app and transmit those settings to the hardware.

Main Features:

- Dual-channel waveform output

- User-defined waveform selection (stored in memory)

- Frequency and amplitude control

- Mobile app interface

- Analog output with filtering

- DC power regulation for portability

Flow Chart:

[ Mobile App ]  <--Bluetooth/WiFi-->  [ Microcontroller ]  <--->  [ FPGA ]

|

[ External Memory (Waveforms) ]

|

[ Dual DACs ] ---> [ Analog Filters ] ---> [ Output ]

|

[ Power: DC/DC converters ]

Subsystems:

| Subsystem | Main Role | Key Components |
| --- | --- | --- |
| Mobile App | User interface & control | Flutter/React Native, BLE/WiFi |
| Microcontroller | System coordination & communication | STM32, ESP32, Teensy |
| FPGA | Digital waveform generation | Xilinx/Lattice FPGA, DDS/NCO logic |
| External Memory | Stores waveform data | QSPI Flash, SRAM |
| DAC | Converts digital to analog | DAC8562, AD9708 |
| Analog Output Stage | Filters and buffers analog signals | Op-amps, RC filters |
| Power Supply | Regulates all system voltages | DC/DC converters, LDOs |
| Communication Buses | Transfers data between components | SPI, UART, I2C, parallel |

Potential Team Responsibility Breakdown:

### Team Member 1: Mobile App & Communication Interface

Main Focus: User Interface, App Logic, and Communication with MCU

#### Responsibilities:

- Design and implement the mobile app UI (iOS & Android)

- Allow user to:

  - Select waveform type

  - Set frequency & amplitude

  - Start/stop waveform output

- Implement Bluetooth or WiFi communication

- Define and document the data protocol (e.g., JSON or binary messages) between app and MCU

- Implement feedback/status display from device

#### Tools:

- Flutter (cross-platform), or Swift (iOS) + Kotlin (Android)

- BLE or WiFi (TCP/UDP) stack

- Serial monitor & mobile debugging tools

#### Interfaces With:

- Team Member 2 (MCU)

- Must define command structure early to enable parallel work

### Team Member 2: Microcontroller Firmware & System Controller

Main Focus: Command parsing, communication handling, and FPGA configuration

#### Responsibilities:

- Set up and manage Bluetooth/WiFi connection on MCU

- Receive commands from mobile app

- Parse commands and generate control signals for FPGA (e.g., waveform ID, frequency values)

- Initialize system peripherals

- Optionally handle waveform data loading into external memory

- Provide status messages back to app

- Handle power-on/reset sequencing for the system

#### Tools:

- C/C++ or Arduino framework

- STM32CubeIDE, PlatformIO, or ESP-IDF

- UART/SPI/GPIO to interface with FPGA

#### Interfaces With:

- Team Member 1 (App)

- Team Member 3 (FPGA): Define control protocol for waveform config

- Team Member 4 (Power/Analog): May need to coordinate power control sequencing

### Team Member 3: FPGA Logic Design & Memory Interface

Main Focus: High-speed waveform generation and data playback logic

#### Responsibilities:

- Implement dual-channel waveform generator using:

  - DDS (Direct Digital Synthesis) or counter-based playback

- Create finite state machine (FSM) for:

  - Reading waveform data from memory

  - Handling dual output synchronization

- Interface with:

  - External memory (QSPI/SRAM)

  - DAC (SPI or parallel)

- Accept configuration parameters from MCU (via SPI/UART/GPIO)

- Provide waveform timing accuracy and channel separation

#### Tools:

- Verilog/VHDL, Vivado or Lattice Diamond (depending on FPGA)

- ModelSim/ISE for simulation

- Testbench development

#### Interfaces With:

- Team Member 2 (MCU): Define config protocol

- Team Member 4 (DAC/Analog): Define DAC signal format and timing

Team Member 4: Analog Output Stage, DAC, and Power System

Main Focus: Convert digital samples to analog, filter and amplify output, and manage power regulation

#### Responsibilities:

- Select and configure DACs (dual-channel or two separate)

- Design analog output filters (anti-aliasing, op-amp buffers)

- Design and build power supply system:

  - DC-DC converters (buck/boost)

  - Clean power rails for analog, digital, and FPGA sections

- Perform signal integrity testing (oscilloscope measurements)

- Assist in PCB layout for mixed-signal performance (digital/analog isolation)

- Handle signal conditioning for both waveform channels

#### Tools:

- LTSpice, Altium/KiCad, Oscilloscope, Signal generator

- Power supply modules or custom DC/DC design

- Soldering/debug tools for analog prototyping

#### Interfaces With:

- Team Member 3 (FPGA): DAC input format & timing

- Team Member 2 (MCU): Ensure sequencing or enable pins for power control

Meeting Notes:

Potential Subteams

App/ Mem

Microcontroller

DAC FPGA

Power/Analog (Note: would need current draw table from components in other subsystems)

Notes/References:

DIY a Signal Generator: https://www.instructables.com/DIY-FunctionWaveform-Generator/

$20 AWG: https://www.instructables.com/Arbitrary-waveform-generator/

Function Generator: https://www.allaboutcircuits.com/projects/how-to-DIY-waveform-generator-analog-devices-ad9833-ATmega328p/

Homemade DAC: https://www.instructables.com/Homemade-Quality-DAC-Is-Easy/

DAC AD Converter: https://www.instructables.com/Homemade-DAC-AD-Converter/

DIY Analog Function Generator (reference): https://www.reddit.com/r/electronics/comments/17tij5x/my_diy_analog_function_generator_i_built_a_two/

Digital Direct Synthesis https://www.analog.com/en/resources/analog-dialogue/articles/all-about-direct-digital-synthesis.html

Meeting with Lusher Questions: QUESTIONS DUE 9/3 MIDNIGHT

Sorted List by Category:

- System Design & Architecture

  - Can we buy a DAC or do we have to make our own?

  - What kinds of microcontrollers can we use? Is there anything we can’t use the microcontroller to do, like store the memory of the signal?

  - Should the DC/DC converter be buck, boost, or buck boost?

  - Power constraints: sourcing

  - What protections are necessary for the power supply subsystem?

  - Local or Cloud Memory?

- Specifications & Performance

  - Design specs?

  - What should the resolution of the output signal be?

  - What is the maximum output frequency and useful signal bandwidth per channel?

  - What is the Frequency range?

  - What is maximum amplitude?

  - What are the required DC accuracy?

  - How many values per arbitrary waveform period?

- User Interface & Display

  - Do we need a display on the waveform generator?

  - Does any data need to be displayed on the phone app that needs to be communicated back from the waveform generator?

- Power & Portability

  - Portability constraints? Should this device be a table-top machine or a handheld device?

  - Battery Life constraints? Wireless capabilities

- Functionality & Use Cases

  - What is the primary intended application for the AWG? Should the signal be tested against different \[loads/environments]?

  - Should we have preset waveforms (square, triangle, sin, etc)?

Design Specifications:

- Filtering + Power →  Salina

- DAQ + FPGA  → Brayden

- Team Spokesperson+ Mobile Device + Communication Interface → Serene

- Microcontrollers + Current Waveform Generators Stats Sheet + Feasibility  → Joe

Assignment:

- Research your subsystem and determine scope and feasibility

- Ideally, how would your subsystem work?

- Create a list of materials you’d need to purchase

- Suggest a game plan for your subsystem

  - Outline What parameters you need and from what subsystem

  - Outline what parameters you will provide and for what subsystem

- Create soft deadlines for your subsystem

TA Office

11-1 Mondays

ConOp Report Due in 2 weeks